## Sheet1
PM5644 Top Level SCPI Commands: |  |  |  | Addr | Params | Purpose | Notes
Vecor Hex | Vector Dec | Cmd Num
80 | 128 | 0 | NOP | 46 53 |  | Does nothing
81 | 129 | 1 | *IDN | 46 62 |  | Get product ID
82 | 130 | 2 | RESULTFORMAT¦RSLTFM | 46 80 |  | Unused
83 | 131 | 3 | SWID | 46 D8 |  | Get software version
84 | 132 | 4 |  | 46 53 |  | Unused
85 | 133 | 5 |  | 46 53 |  | Unused
86 | 134 | 6 |  | 46 53 |  | Unused
87 | 135 | 7 |  | 46 53 |  | Unused
88 | 136 | 8 |  | 46 53 |  | Unused
89 | 137 | 9 | TIME | 0E B7 | OFF¦ON¦? | Switch time off / on & read time
8A | 138 | 10 | HOUR¦H | 0F 4F | 1-12¦0-23 [AM¦PM] | Set or get hour | AM/PM required when in 12 hour mode
8B | 139 | 11 | MINUTE¦MIN | 10 82 | 0-59 | Set or get minute
8C | 140 | 12 | SECOND¦SEC | 11 2F | 0-59 | Set or get second
8D | 141 | 13 | SYNCHRONIZATION¦SYNCTN¦SYNCHR¦SCHR [INTERNAL¦EXTERNAL] | 11 E4 | INTERNAL¦EXTERNAL | Enable/disable genlock
8E | 142 | 14 | PATTERNGROUP¦PATGRP¦PGRP | 12 20 | <integer> | Set pattern group
8F | 143 | 15 | PATTERN¦PATTRN¦PAT¦P | 12 A0 | <integer> | Set pattern of a group
90 | 144 | 16 | PGRPMEMORY¦PGRMEM | 13 94
91 | 145 | 17 | DATEFORMAT¦DATEFRMT¦DFRMT [?¦OFF¦ON¦US] | 13 DD | ISO¦US¦EUR | Set date format
92 | 146 | 18 | DATE | 14 8B | OFF¦ON¦? | Switch date off / on & read date | DATE ON will also activate time
93 | 147 | 19 | YEAR¦Y | 15 13 | 0-99 | Set or get year
94 | 148 | 20 | MONTH¦MON | 15 B6 | 1-12 | Set or get month
95 | 149 | 21 | DAY¦D | 16 59 | 1-28/29/30/31 | Set or get day
96 | 150 | 22 | CLOCKSTATUS¦CLKSTA | 16 FC | ? |  | Probably used to indicate internal/timecode source
97 | 151 | 23 | TIMEFORMAT¦TIMEFRMT¦TFRMT | 17 49 | US¦EUR | Set time format | EUR=24HR US=12HR
98 | 152 | 24 | LOGO¦LOG | 17 F9 | OFF¦ON¦INCREMENT¦? | Logo generator off / on control | Purpose of INCREMENT parameter unknown
99 | 153 | 25 |  | 18 C7 |  | Unused
9A | 154 | 26 |  | 18 D5 |  | Unused
9B | 155 | 27 |  | 18 E3 |  | Unused
9C | 156 | 28 | TEXT¦TXT | 18 FD | CLEAR¦STANDARD¦USER | Set default / clear text | Exact behaviour of original firmware unclear. For OpenPM8546 STANDARD = factory default. USER/CLEAR = delete all text
9D | 157 | 29 | TEXTA¦TXTA | 19 68 | "string" | Set top box text | Quotes required
9E | 158 | 30 | TEXTB¦TXTB | 1A 97 | "string" | Set bottom box text | Quotes required
9F | 159 | 31 | SYNC¦SYN | 1B B7
A0 | 160 | 32 | DEMOLOGO¦DLOGO | 1B F9 | 0-15 | Activate "demo" logo | Used to activate Philips/PTV logos. For OpenPM8546 0-7 = set bottom logo. 8-15 = set top logo.
A1 | 161 | 33 | DIAGONALSLOPE¦DSLOPE¦DSL | 1C 7D
A2 | 162 | 34 | DIAGONALSPEED¦DSPEED¦DSP | 1C E8
A3 | 163 | 35 | DIAGONALSTATUS¦DSTATUS¦DST | 1D 53
A4 | 164 | 36 | DUTY¦DUT | 1D B7
A5 | 165 | 37 | DUTYSEQUENCE¦DUTSEQ | 1E 0B
A6 | 166 | 38 | DUTYLOCK¦DUTLCK | 1E 78
A7 | 167 | 39 | JUMP¦JMP | 1E BC
A8 | 168 | 40 | APLLEVEL¦APLLVL¦APL | 1F 10
A9 | 169 | 41 | HORIZONTALMOVEMENT¦HORIZONTALMOVE¦HMOVE | 1F B2